## PWS General Info
Title:
Address:
Signature:
Telephone Number:
Email Address:
Public Water System (PWS) General Information
PWS Name
PWS ID
Population Served
System Type
PWS Owner/General Contact Information
Name
Mailing Address
Telephone
Email Address
Licensed Operator (if required)
Name
Mailing Address
Telephone
Email Address
1 If your system has a licensed operator the licensed operator is required to review, approve, and submit the corrosion control treatment recommendation or the NJDEP will not review or approve the recommendation.

## Point of Entry WQP Summary
Water Quality Data - Entry Point
Entry Point ID1
Source Type
Parameter | No. of Samples | Date Range When Samples Were Collected |  | Minimum Value | Maximum Value | Average Value
|  | Start (dd/mm/yyyy) | End (dd/mm/yyyy)
pH*
Temperature*, ˚C
Disinfection Residual*
Alkalinity, mg/L as CaCO3
Calcium, mg/L as Ca
Conductivity, as μmho/cm @ 25 ˚C
Orthophosphate**
Silica**
Iron
Manganese
Chloride
Sulfate
Ammonia
Aluminum
Hardness
1 Two (2) WQP samples are required to be collected for each entry point on separate days at least 14 days apart.
*Analysis is required to be completed in the field.
**Analysis only required if system is using this inhibitor.
NA = Not Applicable
{Copy this sheet as necessary for additional entry points & title accordingly}

## Distribution WQP Summary
Water Quality Data - Distribution System*
Parameter | No. of Sites | No. of Samples | Date Range When Samples Were Collected |  | Minimum Value | Maximum Value | Average Value
|  |  | Start (dd/mm/yyyy) | End (dd/mm/yyyy)
pH**
Temperature**, ˚C
Alkalinity, mg/L as CaCO3
Calcium, mg/L as Ca
Conductivity, as μmho/cm @ 25 ˚C
Orthophosphate***
Silica***
Iron
Manganese
Chloride
Sulfate
Ammonia
Aluminum
Hardness
* Physical factors such as pipe disturbances, hydraulics, water use, and water temperature can affect lead and copper levels at the customer's tap. Understanding these factors can help NJDEP and water systems interpret lead and copper data and evaluate the effectiveness of the Optimal Corrosion Control Treatment. For more information, please refer to Chapter 2.4 of USEPA's Optimal Corrosion Control Treatment Evaluation Technical Recommendations for Primacy Agencies and Public Water Systems.
**Analysis is required to be completed in the field
***Analysis only required if system is using this inhibitor
NA = Not Applicable
{Copy this sheet as necessary when there are distinct pressure zones with different water quality characteristics & title accordingly}

## Raw Water WQP Summary
Raw water monitoring is required if your system plans on changing corrosion control treatment, removing corrosion control treatment, or if the distribution system and point of entry water quality parameter monitoring do not support currently installed corrosion control treatment using Flowcharts in EPA's Optimal Corrosion Control Treatment Evaluation Technical Recommendations for Primacy Agencies and Public Water Systems.
Raw Water Source ID
Source Type
Parameter | No. of Samples | Date Range When Samples Were Collected |  | Minimum Value | Maximum Value | Average Value
|  | Start (dd/mm/yyyy) | End (dd/mm/yyyy)
pH*
Temperature*, ˚C
Alkalinity, mg/L as CaCO3
Calcium, mg/L as Ca
Conductivity, as μmho/cm @ 25 ˚C
Orthophosphate**
Silica**
Iron
Manganese
Chloride
Sulfate
Aluminum
Hardness
*Analysis is required to be completed in the field
**Analysis only required if system is using this inhibitor
NA = Not Applicable
{Copy this sheet as necessary for additional raw water points & title accordingly}

## Existing CCT
Does your system currently have corrosion control treatment or purchase water treated with corrosion control? Mark 'X' in appropriate box | Yes | No
If yes complete the details below for corrosion control treatment process in use
pH/Alkalinity/DIC adjustment
Date Installed:
Chemical(s) used:
Dosage (mg/L):
Average pH in distribution system
Average Alkalinity in distribution system as CACO3:
How often is pH measured?
How often is alkalinity measured?
Date of last treatment maintenance:
Phosphate Inhibitor
Date Installed:
Chemical(s) used:
Dosage (mg/L):
Average orthophosphate residual as P in distribution system (mg/L):
Average orthophosphate residual as P at the POE (mg/L):
How often is residual measured?
Location(s) where residual is measured:
Date of last treatment maintenance:
Silicate Inhibitor
Date Installed:
Chemical(s) used:
Dosage (mg/L):
Average residual in distribution system (mg/L):
Average residual at the POE (mg/L):
How often is residual measured?
Location(s) where residual is measured:
Date of last treatment maintenance:

## Existing and Planned Treatment
Treatment Process | Current Treatment |  |  | Planned Future Treatment
| Mark an 'X' if applicable | Chemical Used and Dosage (if applicable) | Notes/Comments | Mark an 'X' if applicable | Chemical Planned and Dosage (if applicable) | Estimated Implementation Date (mm/yyyy) | Notes/Comments
Disinfection (Primary):
Disinfection (Secondary):
Conventional Filtration
Membrane Filtration
Ion Exchange
Aeration
Lime Softening
Flouride Addition
pH Adjustment
Corrosion Inhibitor1
Granular Activated Carbon (GAC)
Reverse Osmosis
Chemical addition not listed above
Chemical Name 1:
Chemical Name 2:
Chemical Name 3:
Chemical Name 4:
Other Process not listed:
Other Process not listed:
1 If orthophosphate (include concentration mg/L as P); if blended phosphate (include percentage of the blend that consists of orthophosphate in the Notes/Comments field).

## LSL Info
Lead Service Line Information
Question | Response
Does your system have ANY full1 or partial2 lead service lines (YES, NO or UNKNOWN)?
If YES, approximately how many full lead service lines are in place?
If YES, approximately how many partial lead service lines are in place?
What was the approximate range of years the lead service lines were installed (YYYY to YYYY)?
If your system has lead service lines, how many can be located from existing records? (NONE, SOME, MOST, ALL)
Does your system have ANY service lines that are lead-lined or dipped (YES, NO or UNKNOWN)?
If YES, approximately how many lead-lined or dipped service lines are in place?
Does your system have ANY lead goosenecks (YES, NO or UNKNOWN)?
If YES, approximately how many goosenecks are in place?
How much of the distribution system is flushed? (NONE, SOME, MOST, ALL)
How often is the distribution system flushed? (NEVER, WEEKLY, BI-WEEKLY, MONTHLY, QUARTERLY, SEMI-ANNUALLY, YEARLY)
1 A full lead service line refers to the pipe from the water main to the residence being lead pipe.
2 A partial lead service line refers to only a portion of the pipe from the main to the residence being lead pipe. This could be the portion of the pipe that is under the control of the utility or the portion of the pipe that is under the control of the property owner.

## CCT Recommendation
Answer the questions in the table below, working from the left column toward the right. Then follow the numbered flowchart based on your answers in Section 3 of the EPA's Optimal Corrosion Control Treatment Evaluation Technical Recommendations for Primary Agencies and Public Water Systems.
Identifying the Appropriate Flowchart for Preliminary CCT Selection
Is iron or manganese present in finished water? | What is the contaminant to be addressed? | What is the finished water pH? | Use this flowchart
No | Lead only, or Both Lead and Copper | < 7.2 | 1a
|  | 7.2 - 7.8 | 1b
|  | > 7.8 - 9.5 | 1c
|  | > 9.5 | 1d
| Copper Only | < 7.2 | 2a
|  | 7.2 - 7.8 | 2b
|  | > 7.8 | 2c
Yes | Lead and/or Copper | < 7.2 | 3a
|  | ≥ 7.2 | 3b
Identify Flowchart used for recommendation
CCTR Recommendation/Proposed Treatment
Source Name (if more than one source, copy this section and complete for each source)
Source ID
Source Type
Identify Recommended Treatment Approach (mark an 'X' for all applicable boxes) |  | Adjust pH | Adjust DIC (Alkalinity) | Add Orthophosphate | Add Blended Phosphate | Add Silicate | Use Present Corrosion Control1 |  |  | Corrective measure not listed2
Recommended Chemical or Process
Recommended Dosage (mg/L)
Target Levels at the Entry Point |  | pH | Alkalinity (mg/L as CaCO3) | Inhibitor (mg/L as P) |  | Inhibitor (mg/L) | pH | Alkalinity (mg/L as CaCO3) | Inhibitor (mg/L as P)
Minimum
Maximum
Average
Target Levels in the Distribution System |  | pH | Alkalinity (mg/L as CaCO3) | Inhibitor (mg/L as P) |  | Inhibitor (mg/L) | pH | Alkalinity (mg/L as CaCO3) | Inhibitor (mg/L as P)
Minimum
Maximum
Average
1 If this option is selected, the water system must provide justification to continue use of current treatment as having an action level exceedance demonstrates that current corrosion control is not adequate or functioning properly.
2 If an additional corrective measure is proposed in addition to treatment, further information is required to be submitted and all plumbing work is required to be completed by a licensed professional such as a licensed plumber. Complete the "Additional Measures" Tab if your system is recommending this in addition to treatment.

## Additional Measures
If your system is proposing an additional corrective measure prior to installation of treatment, complete and include the required items in addition to your CCTR. Please note that all plumbing work is required to be completed by a licensed professional such as a licensed plumber.
Mark an 'X' if applicable | Proposed additional requirements
A proposal (CCTR) outlining what plumbing the system will replace. Note: If plumbing is proposed to be replaced prior to installation of corrosion control treatment, all of the plumbing (not just plumbing serving the taps) must be replaced which must include all faucets/fixtures which are required to meet the current lead free definition (January 2014).
Materials evaluation including service line materials.
Raw water quality parameter sampling results demonstrating that the water system does not need treatment to be in compliance with other parameters (e.g. pH adjustment to meet the optimal pH range).
Notes1-10:
1 If an additional corrective measure prior to CCTR is approved any existing corrosion control treatment can not be removed, only bypassed until the water system meets all of the requirements below.
2 Point of Use Treatment may not be installed.
3 Following completion of any plumbing work, documentation must be provided to the Bureau of Water Sytem Engineering certifying that all of the work is completed and that all materials used meet current regulations.
4 A site inspection may be conducted by the State and/or County.
5 The system will be placed into standard lead and copper monitoring for at least two (2) consecutive six (6) months of monitoring.
6 The sampling must be conducted in accordance with an approved sampling plan. If a lead and copper sampling plan has not been approved, the CCTR approval may remain pending until the plan is approved.
7 Follow-up water quality parameter monitoring will be required for two (2) consecutive six (6) month periods.
8 After one year, the Bureau will evalute and determine if the pre-existing corrosion control treatment can be removed permanently.
9A CCT recommendation must still be made, even with the approval of an additional measure.
10The system will have 24 months to install the recommended CCT from the date of approval, even if an additional measure is approved.

## CCT Study Checklist
FOR NJDEP USE ONLY
Recommended Checklist to Support Determination of the Need for a CCT Study The purpose of this section is to help NJDEP decide whether or not to require a corrosion control treatment (CCT) study and to document the decision. If "yes" answers are given for more than two questions, the NJDEP will consider requiring a study. {EPA recommends that the Primacy Agency require a CCT study for all systems that have lead service lines.}
Category | Question | Response (YES or NO)
Presence of LSLs | Does the system have lead service lines or unknown lead service lines?1
pH stability | Is the range of pH values measured at the entry point > 1.0 pH units. (Range = max entry point pH – min entry point pH)?
Is the range of pH values measured in the distribution system > 1.0 pH units. (Range = max pH – min pH)?
Iron Deposition Potential | Is average entry point iron > 0.3 mg/L?
Is average distribution system iron > 0.3 mg/L?
Manganese Deposition Potential | Is average entry point manganese > 0.05 mg/L?
Is average distribution system manganese > 0.05 mg/L?
Calcium Carbonate Deposition Potential | Is average hardness > 150 mg/L as CaCO3? Entry point of distribution system values may be used.
Chloride/Sulfate Mass Ratio Issues | Is the chloride/sulfate mass ratio (CSMR) for either entry point or distribution system data > 0.6? Use average chloride level divided by the average sulfate level.
Source Water Changes in the Future | Did the system indicate that there may be source water changes in the future?
Treatment Process Changes | Did the system indicate that there may be treatment process changes in the future including changes in coagulant? Does the water system purchase water from a system currently conducting a CCT Study?
1 If the system has lead service lines, EPA recommends that the Primacy Agency require a study.
NJDEP Decision: Is CCT Study Required? (Yes or No)

## CCT Study Type Checklist
FOR NJDEP USE ONLY
Recommended Checklist for the Determination of When to Require a Desktop or Demonstration Study. The purpose of this section is to help NJDEP decide what type of study to require and to document the decision.
Question | Response (YES or NO) | Recommended Next Step
1. Does the system have multiple sources of water? |  | If the answer to at least two of the first three questions is yes, go to question 4. If not, consider requiring the system to conduct a desktop study1.
2. Is the system planning future treatment changes?
3. Is the system planning future source water changes?
4. Does the system serve 10,000 people or fewer? |  | If yes, consider requiring a desktop study unless lead service lines are present. In that case, discuss the most appropriate steps with the system. If the population served is greater than 10,000, consider requiring a demonstration study2.
NJDEP Decision: Is a Desktop or Demonstration Study Required?
1 A desktop study is used to determine appropriate corrosion control treatment for reducing lead and/or copper levels which includes evaluations of literature, historical data and information, theory, and similar system information.
2 A demonstration study is used to evaluate alternative treatment approaches for reducing lead and/or copper levels which includes development and implementation of testing protocols. Demonstration testing can incorporate pipe loops, coupon tests, scale analysis, or partial system testing.